## Slide 1: Title Of Paper : A 3D probabilistic deep learning system for detection and diagnosis of lung cancer using Low-Dose CT Scans Authors : 1.Onur Ozdemir , Member, IEEE 2.Rebecca L. Russell , Member, IEEE 3. Andrew A. Berlin , Member, IEEE Year Of Publication: May, 2020 Journal Details : IEEE Transactions on Medical Imaging, VOL 39, NO. 5 Team Details: 1. Riya Kumari 1806007 2. Arunika Sheetal 1806021 3. Rupali 1806072

## Slide 2: DATASETs USED:- LIDC-IDRI : This dataset contains lesion annotations from four experienced thoracic radiologists. We use the curated version of this dataset provided as part of the LUNA16 challenge which includes 888 patients and consensus labels based on the agreement of ¾ radiologist annotators, resulting in a total of 1186 annotated nodules. We further associate the malignancy scores given by each of the annotating radiologists to these consensus nodule labels. Unfortunately, the LIDC-IDRI annotations do not include very large nodules or masses, which are important for full patient diagnosis. Nodule size is greater than or equal to 3 mm. Feature of Data :- CT images are stored in Metalmage (mhd/raw) format. Each .mhd file is stored with a separate .raw binary file for the pixel data.

## Slide 3: Data Pre-processing : The data we have is raw CT scan images. Data pre-processing includes data reading, regions saving, augmentation of data and splitting the data into train and test sets. We have written modules that include functions which will be used for reading images, converting them to different system of coordinates, extracting the needed ROIs and saving them.

## Slide 4: Model Proposed in Paper: The system takes a raw 3D CT scan of the lung as input and provides as outputs a per-patient malignancy classification probability, per-nodule malignancy scores, and segmented lung nodule candidates. The system can refer patients or nodules whose results have a high degree of uncertainty to a radiologist for confirmation. As first step, pre-processing of each 3D scan to a consistent format is done . The preprocessed scan is then fed into the CADe module, which performs 3D segmentation. The goal of our CADe module is to identify and localize lung nodules with the highest possible recall. The output of CADe module is a list of identified lung nodules which are then fed into CADx module. CADx module uses two cascaded 3D deep learning models. The first model ranks the candidates based on their malignancy risk. The second model then uses that ranking to select the top-k candidates and perform multiple-instance classification to make a patient diagnosis. The full system is developed and tuned simultaneously, since CADx performance is dependent on CADe performance . In particular , when the CADx system is trained with candidates with a high FPR, it becomes much more robust to false positive candidates, resulting in improved performance regardless of the underlying CADe system’s FPR.

## Slide 5: Model Implemented By Us:- At first the data is read, augmented and split into train and test set in data pre-processing part. We have written our module on Keras. After that we load the data and start training of our model using CNN. After applying training module on each data, the weights are updated. We have used both 2D CNN and 3D CNN and compared the recall score of both to conclude which model is better. We have created a separate module for both 2D CNN and 3D CNN to test the model and calculate the recall score and accuracy score.

## Slide 6: RESULT FROM PAPER :
The recall score of this model is 92.1%.
 | LUNA16 CADe | sensitivity | Kaggle Stage-2 | CADx AUROC
CADe FP/ patient | Primary arch. (V-Net based) | Comparison arch. (3D U-Net) | Evaluated on Primary arch. | Evaluated on Comparison arch.
1/8 | 0.832 | 0.839 | 0.867 | 0.869
1/4 | 0.879 | 0.888 | 0.868 | 0.868
1/2 | 0.920 | 0.917 | 0.863 | 0.863
1 | 0.942 | 0.941 | 0.868 | 0.863
2 | 0.951 | 0.950 | 0.866 | 0.858
4 | 0.959 | 0.952 | 0.869 | 0.858
8 | 0.964 | 0.952 | 0.869 | 0.859
average | 0.921 | 0.920 | 0.867 | 0.864

## Slide 7: Result obtained by us:- FROM 2D CNN Model:- Recall Score:- 85% Accuracy Score:- 86% FROM 3D CNN Model:- Recall Score:- 91.5% Accuracy Score:- 94%

## Slide 8: 2D CNN

## Slide 9: 3D CNN

## Slide 10: Sources: https://github.com/rickbeeloo/CNN https://github.com/junqiangchen/LUNA16-Lung-Nodule-Analysis-2016-Challenge Dataset link:- https://luna16.grand-challenge.org/Data Journal link:- https://drive.google.com/drive/u/0/my-drive